## Slide 1
Coordinated Operation of
Photovoltaic Systems in
Virtual Power Plants
V4 EnergyNet: Academic Networking for Renewable Energy and Smart Power Systems
Ing. Kamil Ševc 7.9.2026
Technical University od Košice – Department of High Power Engineering
WORKSHOP PRESENTATION – Research direction, proposed methodology and planned validation

## Slide 2
RESEARCH MOTIVATION
PV capacity is growing faster than controllability
Chart: Relative power
| 0 | 3 | 6 | 9 | 12 | 15 | 18 | 21 | 24
PV output | 0 | 0 | 0.2 | 1.8 | 3.5 | 2.7 | 0.5 | 0 | 0
Demand | 1.2 | 1 | 1.3 | 2 | 2.2 | 2.5 | 3.3 | 2.4 | 1.4
The research problem
How can distributed PV, storage and flexible demand be coordinated so that the combined portfolio is predictable, technically feasible and useful to the grid?
Illustrative daily profiles
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 3
RESEARCH SCOPE
My focus is coordinated operation of distributed PV
Distributed PV
+
Battery storage
+
Flexible demand
↓
Coordinated VPP operation
forecasting · optimisation · dispatch · verification
↓
Grid services
Market participation
Customer value
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 4
RESEARCH GAP
The research task connects models often studied separately
PV forecasting
Weather and spatial correlation
Portfolio scheduling
Energy, storage and flexible load
Network feasibility
Voltage and thermal constraints
Market decisions
Bids, reserves and uncertainty
↓
My proposed integration task
One framework linking uncertainty, dispatch, flexibility and network limits
Gap statement to be refined during the literature review
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 5
RESEARCH QUESTIONS
Four questions define the current research direction
RQ1
How should spatially distributed PV systems be aggregated and represented?
RQ2
How can forecast uncertainty be included in VPP scheduling?
RQ3
How much flexibility can storage and responsive loads provide?
RQ4
How do network limits change the technically available flexibility?
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 6
SYSTEM UNDER STUDY
The model represents energy and controllable flexibility
PV portfolio
Available active power
Forecast uncertainty
→
Battery system
State of charge
Power and ageing limits
→
Flexible demand
Shiftable consumption
Comfort or process limits
→
VPP controller
Schedule and set-points
↓
Grid / market interface
Model boundaries
Distribution-network constraints and the selected market or service rules
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 7
PROPOSED METHODOLOGY
The methodology follows a reproducible five-stage workflow
1 Data
PV, load, weather, prices
→
2 Forecast
Expected values and scenarios
→
3 Optimise
Cost, flexibility and constraints
→
4 Simulate
Day-ahead and real-time operation
→
5 Evaluate
Technical and economic metrics
Planned comparison
Deterministic baseline ↔ uncertainty-aware VPP operation
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 8
PLANNED EXPERIMENTS
Staged scenarios isolate the value of each VPP component
S0
Grid supply + unmanaged PV
Reference case
S1
Aggregated PV portfolio
Aggregation effect
S2
PV + battery storage
Time shifting and balancing
S3
PV + BESS + flexible demand
Full VPP coordination
Each scenario adds one source of flexibility while keeping the test conditions comparable.
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 9
WORKING HYPOTHESES
These are hypotheses to test—not results already obtained
H1
Geographic aggregation reduces short-term PV variability, but correlation limits the benefit.
H2
Storage improves schedule tracking and shifts solar energy toward higher-value periods.
H3
Network constraints reduce the flexibility that appears available in an unconstrained model.
The analysis may confirm, qualify or reject these statements.
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 10
EVALUATION FRAMEWORK
Technical and economic metrics define performance
Forecast quality
MAE / RMSE
Scenario coverage
Energy balance
Self-consumption
Grid exchange
Flexibility
Available power
Duration and response
Network impact
Voltage deviations
Thermal violations
Economics
Operating cost
Revenue and ageing
Success means improvement without violating technical limits.
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 11
CURRENT STATUS
The project is moving toward an executable model
Completed
Initial literature review
Problem and scope definition
→
In progress
Research-gap refinement
Model boundary selection
→
Next
Dataset and test system
Baseline implementation
→
Later
Scenario analysis
Validation and sensitivity
Workshop feedback can still shape the model and validation strategy.
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 12
EXPECTED RESEARCH CONTRIBUTION
The goal is a defensible method for quantifying PV-based VPP flexibility
Integrated model
Link PV uncertainty, storage, demand and network feasibility.
Comparable scenarios
Measure the incremental value of each flexibility resource.
Engineering guidance
Identify when theoretical flexibility is technically deliverable.
Current output: research framework and validation plan — experimental results will follow.
TECHNICAL UNIVERSITY OF KOŠICE | FACULTY OF ELECTRICAL ENGINEERING AND INFORMATICS

## Slide 13
THANK YOU FOR YOUR ATTENTION.
Ing. Kamil Ševc
Department of High Power Engineering
FEI TUKE 7.9.2026

## Slide 14
Selected literature supporting the research direction
1. Naval & Yusta (2021). Renewable and Sustainable Energy Reviews 149, 111393.
2. Nosratabadi et al. (2017). Renewable and Sustainable Energy Reviews 67, 341–363.
3. Mahmud et al. (2020). Renewable and Sustainable Energy Reviews 127.
4. Naval, Sánchez & Yusta (2020). Renewable Energy 151, 57–69.
5. Power & Verbič (2025). IEEE Transactions on Smart Grid 16(1), 183–193.
6. Yu et al. (2019). Applied Energy 239, 454–470.
7. Shabanzadeh et al. (2016). Applied Energy 169, 663–681.
8. Pandžić et al. (2013). Applied Energy 105, 282–292.
9. Baringo & Baringo (2017). IEEE Transactions on Power Systems 32(5), 3492–3504.
10. Pudjianto et al. (2007). IET Renewable Power Generation 1(1), 10–16.